[image: image1.png]


Oceanmashenergo Ltd, Dnepropetrovsk , Ukraine

Questionnaire

Subject: solid contaminations refinement water filter

Manufacturer:_____________________________________________________
Passing date _________________________
	Question
	Answer

	1.  Pipeline diameter, pipe wall thickness, mm 
	     

	2. Cleanable water flow rate, m3/hr 
	     

	3. Pipeline pressure, MPa
	     

	4. Removable contaminations composition
	 FORMCHECKBOX 
 sand
	 FORMCHECKBOX 
 algae

	5. 
	 FORMCHECKBOX 
 scoria
	 FORMCHECKBOX 
 seashells

	6. 
	 FORMCHECKBOX 
 rocks
	 FORMCHECKBOX 
 Dreissena

	7. 
	other

	8. Maximal size of solid particles in cleanable water (including occasional, random ones), mm
	     

	9. Minimal size of solid particles that must be removed from water (particles less than upper-mentioned size remain in refined water), mm
	     

	10. Cleanable water solid particles specific mass, g/m3
	     

	11. Tolerant filter pressure gradient, MPa
	     

	12. What source does cleanable water come from?
	 FORMCHECKBOX 
 pond
	 FORMCHECKBOX 
 open air water reservoir

	13. 
	 FORMCHECKBOX 
 dislodger
	 FORMCHECKBOX 
 running-water reservoir

	14. 
	 FORMCHECKBOX 
 river
	 FORMCHECKBOX 
 sea

	15. 
	other

	16. Type of disposable protection against solid contamination ingress to intake pump nozzles that provide cleanable water income
	 FORMCHECKBOX 
 grating
	 FORMCHECKBOX 
 net

	17. 
	 FORMCHECKBOX 
 grate bars
	 FORMCHECKBOX 
 chains

	18. 
	other

	19. 
	cell size       mm

	20. Cleanable water purpose, the reason to be refined Cleanable water purpose, the reason to be refined
	     

	21. Filter installation location:
	 FORMCHECKBOX 
 open air

	22. 
	 FORMCHECKBOX 
 indoors

	23. Oil presence in water
	 FORMCHECKBOX 
 positive

	24. 
	 FORMCHECKBOX 
 negative

	25. Water freezing issues in winter
	 FORMCHECKBOX 
 yep

	26. 
	 FORMCHECKBOX 
 nope

	27. Is cleanable water aggressive so as to cause metal corrosion
	 FORMCHECKBOX 
 positive

	28. 
	 FORMCHECKBOX 
 negative

	29. Number of water lines that require filter installation
	     

	30. What is the distance between water line axis and ground/floor/wall surface? What is the distance between water line axis and ground/floor/wall surface?
	     

	31. Is there free space equal to 2-3 water line diameters around filter installation location along filter’s diameter and length? If not then what free space is there?
	     

	32. How to install the filter on the water line?
	 FORMCHECKBOX 
 using flanges

	33. 
	 FORMCHECKBOX 
 weld it in the pipeline

	34. Periodicity and duration of systematic/non-systematic filter-containing water line shutdowns during the year
	     

	35.  Is there possibility of filter-containing water line shutdown if filter emergency repair/refinement case occurs?
	 FORMCHECKBOX 
 yes

	36. 
	 FORMCHECKBOX 
 no

	37. Where is dirty water supposed to be drained to in case of cyclic filter self-refinement (1-3% of flow rate ques.2)
	     

	38. Distance between filter installation location and dirty water drain spot, m
	      meters

	39. How many filters are going to be ordered?
	     


Notes. During questionnaire filling in you should decide for sure with ques.6 & 8 and choose them maximally tolerant. Along with decreasing of that factors the area of filtering elements increases,  as well as dimensions and filter price. Any customer conditions will be considered and studied. FYI, we report that the most acceptable datum for pressure in water line (for example) from 0,5 to 5 kg/cm2 is: dimension ques. 5 – about 5 (but not less than 1) mm; and gradient ques. 8, correspondingly, from 30 to 10% of pressure in water line.
	     
	
	

	(Full name, occupation of respondent)
	
	(Signature)

	     
	
	


www.oceanmas.dp.ua, oceanmas@infotd.dp.ua 

